## Sheet1
Dataset Name | Organ / Tissue Type | WSI Format | Typical Scanner | Tile Compression | JPEG Quality / Bit Depth | Color Space | Ground-Truth Status | R-D Benchmark Suitability | Primary Reference(s)
TCGA | Multi-organ (33 tumor types, ~30k WSIs) | .svs (BigTIFF) | Leica Aperio ScanScope (AT, AT2, XT) | JPEG | Q=70-80 / 24-bit | YCbCr (4:2:2) | Lossy Pre-compressed (Aperio hardware-level DCT) | Limited (Generation loss; recompression bias) | Weinstein et al. (2013) (Dataset origin); Helin et al. (2018) (Aperio JPEG profile)
Camelyon16 | Lymph nodes (Breast cancer metastases) | .tif (BigTIFF) | Hamamatsu NanoZoomer 2.0-HT / 3DHISTECH Pannoramic 250 | JPEG | Q≈80 / 24-bit | YCbCr | Lossy Pre-compressed (Verified JPEG80 origin) | Limited (Validated for downstream task eval, no optical GT) | Bejnordi et al. (2017) (Dataset origin); Fischer et al. (2024/2025) (Task/bias benchmark)
Camelyon17 | Lymph nodes (5 centers, pN-staging) | .tif (BigTIFF) | Hamamatsu XR/HT, 3DHISTECH 250, Philips UFS | JPEG | Q≈80 / 24-bit | YCbCr | Lossy Pre-compressed (Multi-centric scanner profiles) | Limited (Scanner heterogeneity distorts R-D curves) | Litjens et al. (2018) (Dataset origin); Helin et al. (2018) (Scanner JPEG profile)
RMS on IDC | Soft tissue sarcoma (Pediatric RMS cohort) | .dcm (DICOM WSI) | Leica Aperio AT2 (40x native) via DICOM-WG26 ingest | Lossless (Raw / Deflate) | Lossless / 24-bit | RGB (native) | Truly Lossless (Verified uncompressed sensor data) | Excellent (GOLD STANDARD for PSNR, SSIM, LPIPS) | Clunie et al. (2023) / Milewski et al. (2023) (Data); Fischer et al. (2024/2025) (GT evaluation)
GTEx | Normal tissue (>40 organs / 54 sites, autopsy) | .svs (BigTIFF) | Leica Aperio ScanScope AT2 / CS | JPEG | Q=70-80 / 24-bit | YCbCr (4:2:2) | Lossy Pre-compressed (Aperio standard acquisition pipeline) | Limited (Distorted pixel metrics; useful for cross-study eval) | GTEx Consortium (2013/2020) (Dataset origin); Helin et al. (2018) (Aperio JPEG profile)
ANHIR | Multi-organ (Lung, kidney, colon, breast, etc.) | .png (ROI / tissue level) | Zeiss AxioScan, 3DHISTECH MIDI, Aperio AT2, Huron | Lossless PNG (Container) | Lossless / 24-bit | RGB (decoded) | Partially Lossless (Lossless container wrapping lossy-scanned WSIs) | Restricted (Optical ground truth already degraded at acquisition) | Borovec et al. (2020) (Challenge & pipeline origin)
PanNuke | 19 tissue types (Nuclear instance segmentation) | .npy / .png (Tiles) | Composite origins (Predominantly sampled from TCGA) | N/A (Extrahierte Kacheln) | 24-bit RGB | RGB | Lossy Pre-compressed (TCGA-based JPEG80 pixel data) | Unsuitable for R-D; excellent for downstream AI task eval | Gamper et al. (2019/2020) (Dataset origin); Fischer et al. (2024/2025) (nnU-Net compression eval)
PAIP | Liver (HCC), Colon (MSI-H, PNI) | .svs (BigTIFF) | Leica Aperio ScanScope AT2 | JPEG | Q≈70-80 / 24-bit | YCbCr | Lossy Pre-compressed (Hardware DCT quantization) | Limited (Artifact profile matches TCGA) | Kim et al. (2021) (Dataset origin); Helin et al. (2018) (Aperio JPEG profile)
DigestPath | Colon (Malignant lesions, signet ring cells) | .tif (BigTIFF) / .ndpi | Hamamatsu NanoZoomer (2.0-HT / XR) | JPEG | Q≈80 / 24-bit | YCbCr | Lossy Pre-compressed (Hamamatsu standard JPEG profile) | Limited (High-frequency ringing around chromatin-dense nuclei) | Da et al. (2022) (Dataset origin); Helin et al. (2018) (Scanner JPEG profile)
BreaKHis | Breast (Benign & malignant tumors) | .png (Microscope FOV; NOT a WSI) | Olympus BX-50 microscope + Samsung SCC-131AN camera | Lossless PNG | Lossless / 24-bit | RGB | Truly Lossless (Sensor-level uncompressed; no WSI scanner DCT) | Restricted (Lacks WSI multiresolution pyramid & tile hierarchy) | Spanhol et al. (2016) (Dataset origin); Fischer et al. (2024/2025) (Recompression suite)
CPTAC | Multi-organ (Proteogenomic cohorts) | .svs (BigTIFF) / .dcm | Leica Aperio ScanScope AT2 / GT450 | JPEG | Q=70-80 / 24-bit | YCbCr (4:2:2) | Lossy Pre-compressed (Aperio standard scanning infrastructure) | Limited (Underlying pixels match TCGA JPEG standard) | Edwards et al. (2015) / Fedorov et al. (2021) (Origin); Helin et al. (2018) (Aperio JPEG profile)
Fischer RMS | Pediatric rhabdomyosarcoma (Embryonal / Alveolar) | .png / .npy (Extracted tiles) | Sourced from IDC RMS (40x, native magnification) | Uncompressed | Lossless / 24-bit | RGB (native) | Truly Lossless (100k curated tiles, 224x224 pixels) | Excellent (DIRECT BENCHMARK for rate-distortion codecs) | Fischer et al. (2024/2025) (Benchmark dataset & methodology)